{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":41,"n_cols":8,"rows_kept":41,"merged":[[0,0,0,6],[1,0,1,6],[2,1,2,6],[38,0,38,6],[40,1,40,6],[41,0,53,6]],"flags":["formulas_cached_only"]}
["汕头大学水电配件材料采购投标书"]
["（2011年秋季学期）"]
[null,"投标单位："]
["序号","材料名称","品牌/型号/规格","单位","数量","单价(元)","金额(元)","备注"]
[1,"日光灯管","三雄PAK090091/T8/36W/865","支",1500]
[2,"启辉器","三雄PAK-S10/4-80W","粒",1500]
[3,"日光管灯脚","塑料","个",200,null,null,"见样品"]
[4,"节能灯","三雄PAK101301/插管2针13W","粒",100]
[5,"节能灯","三雄PAK101304/插管4针13W","粒",50]
[6,"节能灯","三雄PAK081342/13WE27","粒",200]
[7,"节能灯","三雄PAK082442/24WE27","粒",30]
[8,"电子镇流器","三雄PAK013020/1拖1/T8\n","个",300]
[9,"微电脑时间控制器","上海石泰/KG316T","个",20]
[10,"面板开关","中兴牌/86型/4位/10A","个",50]
[11,"面板开关","中兴牌/86型/5位/10A","个",50]
[12,"三相交流接触器","正泰CJ20-100A/220V","个",5]
[13,"三相交流接触器","正泰CJ20-10A/220V","个",5]
[14,"三相交流接触器","正泰CJT1-20A/220V","个",5]
[15,"三相空气开关","惠州海格/MC380P/80A","个",5]
[16,"三相空气开关","惠州海格HLF390P/100A","个",5]
[17,"电线","人民牌2.5平方BVV双层铜芯","捆",5,null,null,"捆/100米"]
[18,"电线","人民牌6平方BVV双层铜芯","捆",2,null,null,"捆/100米"]
[19,"延时自闭式大便冲厕阀","桂花牌/B15/25MM","个",40,null,null,"小一号"]
[20,"延时自闭式小便冲厕阀","桂花牌/LG6 A/4分","个",20]
[21,"水箱配件","瑞尔特(塑料)","套",10]
[22,"水箱配件","樱井牌(塑料)","套",15]
[23,"冷水表","埃美柯 4分","个",10]
[24,"螺丝刀","闪电牌/一字8寸","把",10]
[25,"螺丝刀","闪电牌/一字6寸","把",10]
[26,"螺丝刀","闪电牌/十字8寸","把",10]
[27,"螺丝刀","闪电牌/十字6寸","把",10]
[28,"试电笔","南帆电工/CDB-05/两用","支",15]
[29,"试电笔","凯乐大地/带LED","支",15]
[30,"尖嘴钳","闪电牌","支",10]
[35,"铜锁(厂家定制)","40毫米（锁芯和钥匙应与样品相同）","个",100,null,null,"见样品"]
[32,"编织绳子","普通","米",100,null,null,"见样品(绑梯子用)"]
[33,"开关电源","750W（输入:DC220V/输出:DC24V）","套",1]
[34,"接地电阻测试仪","上海西利光ZC29B-1型","套",1,null,null,"测试接地电阻"]
["合计总金额:"]
[]
[null,"售后承诺：（投标人提出对所售商品的质量及售后承诺）（可加页）"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}