{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":65,"n_cols":8,"rows_kept":65,"merged":[[0,0,0,7],[1,0,1,7],[2,1,2,7],[60,5,61,5],[62,0,62,7],[64,1,64,7],[65,0,74,7]],"flags":["formulas_cached_only"]}
["汕头大学水电配件材料采购投标书"]
["（2012年春季学期）"]
[null,"投标单位："]
["序号","材料名称","品牌/型号/规格","单位","数量","备注","单价(元)","金额(元)"]
[1,"日光灯管","三雄PAK090091/T8/36W/865","支",1400]
[2,"日光灯镇流器","三雄极光PAK020901/36W 超簿型","个",200]
[3,"日光灯电子镇流器","三雄PAK013020/1拖1/T8/36W\n","个",150]
[4,"日光灯电子镇流器","三雄PAK016920/1拖3/T8/36W","个",30]
[5,"环形电子镇流器","三雄PAK012816/T5/32W","个",150]
[6,"筒灯电子镇流器","三雄PAK010915 13W","个",20,"科技楼更换用"]
[7,"电子触发器","佛山照明FSL-CD-2A","个",100]
[8,"插口灯泡","佛山照明25W E27/220V","粒",100]
[9,"螺口灯泡","佛山照明60W E27/220V","粒",200]
[10,"螺口灯泡","佛山照明100W E27/220V","个",30]
[11,"警示灯泡","12V21W","粒",20,"见样品（保卫岗亭更换用）"]
[12,"日光灯支架","三雄PAK310603/18W","套",5]
[13,"双极空气开关","惠州海格/双极 25AMC225P","个",20]
[14,"漏电开关","惠州海格/双极 25A AD625M","个",20]
[15,"单极空气开关","惠州海格/单极 16AMC116P","个",5]
[16,"单极空气开关","惠州海格/单极 60AMC160P","个",5]
[17,"三孔插座面板","86型中兴牌   16A","个",10]
[18,"五孔插座面板","86型中兴牌 10A","个",60]
[19,"单键面板开关","TCL-罗格朗/K5/16A/白色","个",20,"附中附小教室开关"]
[20,"双键面板开关","TCL-罗格朗/K5/16A/白色","个",20,"附中附小教室开关"]
[21,"环形光管","三雄PAK102204/T5/22W 三基色","支",80]
[22,"节能灯","三雄螺旋型电子节能灯PAK080942/9W/6400K","粒",200]
[23,"节能灯","三雄螺旋型电子节能灯PAK081342/13W/6400K","粒",200]
[24,"节能灯","三雄螺旋型电子节能灯PAK080940/9W/2700K","粒",50]
[25,"日光灯管脚","塑料","个",100,"见样品"]
[26,"插只（二孔）","南帆电工10A","粒",15]
[27,"插只（三孔）","南帆电工16A","粒",15,"空调专用插头"]
[28,"二位组合小配电箱","普通","个",10]
[29,"电胶布","普通","粒",100]
[30,"熔断器","5A   管式","粒",100]
[31,"钳表","仪通VC3267","个",5]
[32,"水管钳","格锐特  8寸","把",8]
[33,"水管钳","格锐特  10寸","把",8]
[34,"活动扳手","BOSI TOOLS发黑活动扳手10寸","把",10]
[35,"活动扳手","BOSI TOOLS发黑活动扳手12寸","把",5]
[36,"钳工铁锤","木柄 300克","把",10]
[37,"平口钳","闪电牌 8寸带口","把",10]
[38,"冷水表","宁波埃美柯/4分","个",20]
[39,"冷水表","宁波埃美柯/6分","个",10]
[40,"洗手盆龙头","爱华202A   4分","个",50]
[41,"水龙头","爱华P203T   4分","个",150]
[42,"冷暖洗手盆龙头","卫士洁具单把调温水龙头","个",5]
[43,"洗菜盆活动龙头","爱华4分   96A","个",10]
[44,"大便冲厕阀","桂花/B19/25MM 1寸","个",60]
[45,"小便冲厕阀","桂花/LG6 A/4分","个",20]
[46,"塞只","4分普通（铁）","个",30]
[47,"软管","粤冠水暖 4分/0.5M热水管","条",100]
[48,"水胶布","普通","个",100]
[49,"水箱配件","瑞尔特(塑料)","套",10]
[50,"水箱配件","广暖牌 G-6017型（黄铜）","套",10]
[51,"黄铜闸阀","埃美柯DN25  手轮式","个",10]
[52,"手套","布/普通","双",30,"劳保用品"]
[53,"雨衣","加厚型","套",5,"劳保用品（上衣和裤子）"]
[54,"雨（水）靴","橡胶","双",2,"劳保用品"]
[55,"镜前灯","百利通/MB483-Y12 蒙娜丽莎12W/配光管","套",5,"中山市普尔照明有限公司"]
[56,"双端日光灯管（配套镜前灯）","佛山照明T4/F12/12W","支",10,"双端日光灯管需与镜前灯灯具配套（参照样品）"]
[57,"嵌入式厨卫灯","三雄PAK181301/透明/21W/配光管","套",5,"直排形管需与厨卫灯灯具配套（参照样品）"]
[58,"直排形管（配套厨卫灯）","三雄21W","支",20]
["合计总金额:"]
[]
[null,"售后承诺：（投标人提出对所售商品的质量及售后承诺）（可加页）"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}