{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":129,"n_cols":17,"rows_kept":129,"merged":[[0,0,0,16]],"flags":["formulas_cached_only"]}
["汕头大学各配电房高压供电设备一览表"]
["序号","编号","变配电站位置","设备编号","设备名称","生产厂家 ","设备型号","设备规格","油浸式/干式","单位","数量","设备制造时间","设备安装时间","进出线电缆型号/规格","进出线电缆截面/长度","使用状况","备注"]
[1,"一","1号开关站"]
[2,"（一）",null,null,"高压柜"]
[3,1,null,"AH1","进线柜（SF6断路器、玉大线）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","YJV22-10-3*240","240/4.5KM","在用","主供电源"]
[4,2,null,"AH2","1#PT柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,null,"在用"]
[5,3,null,"AH3","负荷开关柜（医科楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"70/0.43KM","在用"]
[6,4,null,"AH4","负荷开关柜（加压水泵站）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"120/1.25KM","在用"]
[7,5,null,"AH5","负荷开关柜（科技楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"70/0.05KM","在用"]
[8,6,null,"AH6","负荷开关柜（工科楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","高压铝芯电缆","35/0.34KM","在用"]
[9,7,null,"AH7","负荷开关柜（风洞）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","高压铝芯电缆","35/0.42KM","在用"]
[10,8,null,"AH8","负荷开关柜（教授楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"  /0.45KM","在用"]
[11,9,null,"AH9","负荷开关柜（理科楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"35/0.21KM","在用"]
[12,10,null,"AH10","联络柜（SF6断路器）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,null,"在用"]
[13,11,null,"AH11","提升柜（母线排）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,null,"在用"]
[14,12,null,"AH12","负荷开关柜（文科楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","高压铝芯电缆","25/0.18KM","在用"]
[15,13,null,"AH13","负荷开关柜（交流楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","高压铝芯电缆","25/0.44KM","在用"]
[16,14,null,"AH14","负荷开关柜（礼堂变电所1）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"95/0.44KM","在用"]
[17,15,null,"AH15","负荷开关柜（礼堂变电所2）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"120/0.45KM","在用"]
[18,16,null,"AH16","负荷开关柜（高压变电所）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,null,"在用"]
[19,17,null,"AH17","负荷开关柜（学生宿舍）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"95/0.26KM","在用"]
[20,18,null,"AH18","负荷开关柜（教工宿舍）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"95/0.64KM","在用"]
[21,19,null,"AH19","负荷开关柜（老图书馆）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"70/0.2KM","在用"]
[22,20,null,"AH20","出线柜（SF6断路器、2#开关站）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,"185/0.7KM","在用"]
[23,21,null,"AH21","2#PT柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年",null,null,"在用"]
[24,22,null,"AH22","进线柜（SF6断路器、鱼它大线）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2003年","2003年","架空线+电缆","70/","在用","备用电源"]
[25,"（二）",null,null,"隔离开关",{"$nulls":4},"套",1,{"$nulls":4},"在用","挂墙上,信息不详"]
[26,"（三）",null,null,"变压器","佛山变压器厂","S7","400KVA/10KV/0.4KV","油浸式","套",1,"1985年",{"$nulls":3},"在用"]
[27,"二","2号开关站"]
[28,"（一）",null,null,"高压柜"]
[29,1,null,"AH1","进线柜（SF6断路器）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",null,null,"0.7KM","在用","1号开关站引来"]
[30,2,null,"AH2","PT柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[31,3,null,"AH3","负荷开关柜（备用）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[32,4,null,"AH4","负荷开关柜（E座教学楼）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",null,"2*(VV4*150+1*95)",null,"在用"]
[33,5,null,"AH5","负荷开关柜（新图书馆1号）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[34,6,null,"AH6","负荷开关柜（新图书馆2号)","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[35,7,null,"AH7","负荷开关柜（多学科中心)","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",null,null,"50/0.48KM","在用"]
[36,8,null,"AH8","负荷开关柜（备用)","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[37,9,null,"AH9","负荷开关柜（备用)","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",{"$nulls":3},"在用"]
[38,10,null,"AH10","负荷开关柜（G座学生宿舍）","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2007年",null,"2*(VV4*185+1*95)",null,"在用"]
[39,"（二）",null,null,"变压器1","汕头电力工业局修配厂","S9","630KVA/10KV/0.4KV","油浸式","套",1,"2004年",{"$nulls":3},"在用"]
[40,{"$nulls":3},"变压器2","汕头电力工业局修配厂","S9","500KVA/10KV/0.4KV","油浸式","套",1,"2004年",{"$nulls":3},"在用"]
[41,"三","新图书馆"]
[42,"（一）",null,null,"高压柜"]
[43,1,null,"1号","进线开关柜","北京ABB","系列号500057297/002011-01",null,null,"套",1,"2008年",39814,null,null,"在用"]
[{"$nulls":4},"PT柜","北京ABB",{"$nulls":3},"套",1,{"$nulls":4},"在用"]
[{"$nulls":4},"馈线开关柜","北京ABB",{"$nulls":3},"套",1,{"$nulls":4},"在用"]
[44,2,null,"2号","进线开关柜","北京ABB","系列号500057297/002011-01",null,null,"套",1,"2008年",39814,null,null,"在用"]
[{"$nulls":4},"PT柜","北京ABB",{"$nulls":3},"套",1,{"$nulls":4},"在用"]
[{"$nulls":4},"馈线开关柜","北京ABB",{"$nulls":3},"套",1]
[45,"(二)",null,null,"变压器1","上海ABB变压器有限公司","SCB10-1250/10","1250KVA/10KV/0.4KV","干式","套",1,"2005年",39814,null,null,"在用"]
[46,{"$nulls":3},"变压器2","上海ABB变压器有限公司","SCB10-1250/10","1250KVA/10KV/0.4KV","干式","套",1,"2005年",39814,null,null,"在用"]
[47,"四","多学科"]
[48,"（一）",null,null,"高压柜"]
[49,1,null,"H1","负荷开关柜","北京维益埃电气有限公司","XGN19-12(F-R)/UNIFLUORC",null,null,"套",1,"2004年",null,"3*50/0.48KM",null,"在用"]
[50,2,null,"H2","负荷开关柜","北京维益埃电气有限公司","XGN19-12(F-R)/UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[51,"(二)",null,null,"变压器","上海ABB变压器有限公司","SCR9-630/10","630KVA/10KV/0.4KV","干式","套",1,"2004年",{"$nulls":3},"在用"]
[52,"五","大礼堂"]
[53,"（一）",null,"1#","高压柜1","VEI","1RFIT",null,null,"套",1,null,null,"YJV22-10-3*95","0.44KM","在用","负荷开关和接地开关为一体化的三工位开关"]
[54,null,null,"2#","高压柜2","VEI","2RFIT",null,null,"套",1,null,null,"YJV22-10-3*120","0.44KM","在用","负荷开关和接地开关为一体化的三工位开关"]
[55,"(二)",null,null,"变压器1","中国佛山市变压器有限责任公司中外合资佛山佛盛电机有限公司","SCO9－800/10","800KVA/10KV/0.4KV","干式","套",1,"2003年",{"$nulls":3},"在用"]
[56,{"$nulls":3},"变压器2","中国佛山市变压器有限责任公司中外合资佛山佛盛电机有限公司","SCO9－1250/10","1250KVA/10KV/0.4KV","干式","套",1,"2003年",{"$nulls":3},"在用"]
[57,"六","风洞实验室"]
[58,"（一）",null,null,"整流变压器","常州市第二变压器厂","ZBS-620/10","622KVA/600KVA/22KVA 10KV/700V/400V180V","干式","套",1,"1994年",{"$nulls":3},"在用"]
[59,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,null,null,"铝","3*35/0.42KM","在用"]
[60,"七","科技楼"]
[61,"（一）",null,null,"有载调压电气变压器","广东省番禺市电机总厂变压器厂","630/10","630KVA/10KV/0.4KV","油浸式","套",1,"1995年",{"$nulls":3},"在用"]
[62,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,{"$nulls":3},"3*70/0.05KM","在用"]
[63,"八","工科楼"]
[64,"（一）",null,null,"变压器","佛山变压器厂",null,"630KVA/10KV/0.4KV","油浸式","套",1,"1984年",null,"铝","3*35/0.14KM","在用"]
[65,"（二）",null,null,"FN型户内负荷开关1",{"$nulls":4},"套",1,{"$nulls":4},"在用"]
[66,{"$nulls":3},"FN型户内负荷开关2",{"$nulls":10},"在用"]
[70,"九","教授楼"]
[71,"（一）",null,null,"高压柜"]
[72,1,null,"AH1","进线柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",null,null,"0.45KM","在用"]
[73,2,null,"AH2",null,"厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[74,3,null,"AH3","P楼变压器柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[75,4,null,"AH4",null,"厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[76,"（二）",null,null,"变压器","江苏中电变压器制造有限公司","SG10-800/10","800KVA/10KV/0.4KV","干式","套",1,"2004年",{"$nulls":3},"在用"]
[77,"十","学术交流中心"]
[78,"（一）",null,null,"变压器","广东省五华变压器厂","S7","630KVA/10KV/0.4KV","油浸式","套",1,"1986年",{"$nulls":3},"在用"]
[79,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,null,null,"铝","3*25/0.44KM","在用"]
[80,"十一","理科楼"]
[81,"（一）",null,null,"变压器","佛山变压器厂","S7","630KVA/10KV/0.4KV","油浸式","套",1,"1985年",{"$nulls":3},"在用"]
[82,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,{"$nulls":3},"3*35/0.21KM","在用"]
[83,"十二","学生宿舍配电房"]
[84,"（一）",null,null,"高压柜"]
[85,1,null,"1#柜","进线单元","汕头经济特区自动化电器设备总厂","HXGN-10/13",null,null,"套",1,"2002年",null,"3*95/0.057KM/0.203KM",null,"在用"]
[86,2,null,"2#柜","出线单元","汕头经济特区自动化电器设备总厂","HXGN-10/08",null,null,"套",1,"2002年",{"$nulls":3},"在用"]
[87,"（二）",null,null,"变压器","中国佛山市变压器厂","S9-800/10.5","800KVA/10KV/0.4KV","油浸式","套",1,"2002年",{"$nulls":3},"在用"]
[88,"十三","教工宿舍配电房"]
[89,"（一）",null,null,"高压柜"]
[90,1,null,1,"高压柜1","深圳长科实业有限公司北京ABB高压设备有限公司联合生产","HJGN15-12",null,null,"套",1,"2003年",null,null,"3*95/0.64KM","在用"]
[91,2,null,2,"高压柜2","深圳长科实业有限公司北京ABB高压设备有限公司联合生产","HJGN15-12",null,null,"套",1,"2003年",{"$nulls":3},"在用"]
[92,"（二)",null,null,"树脂绝缘干式电力变压器","中国佛山市变压器有限责任公司中外合资佛山佛盛电机有限公司","SCO9－1250/10","1250KVA/10KV/0.4KV","干式","套",1,"2003年",{"$nulls":3},"在用"]
[93,"十四","西区水泵房"]
[94,"（一）",null,null,"高压柜"]
[95,1,null,"AH1","负荷开关柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",null,"YJV22-10-3*120","1.25KM","在用"]
[96,2,null,"AH2","负荷开关柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[97,3,null,"AH3","负荷开关柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[98,4,null,"AH4","负荷开关柜","厦门维益电气有限公司","UNIFLUORC",null,null,"套",1,"2004年",{"$nulls":3},"在用"]
[99,"（二)",null,null,"变压器","杜邦－雷力通","系列号YZ-33169","500KVA/10KV/0.4KV",null,"套",1,{"$nulls":4},"在用"]
[100,"十五","医科楼"]
[101,"（一）",null,null,"高压柜"]
[102,{"$nulls":3},"负荷开关柜","VEI",{"$nulls":3},"套",1,{"$nulls":3},"3*70/0.43KM","在用"]
[103,"（二）",null,null,"变压器","江苏中电变压器制造有限公司","SG10-800/10","800KVA/10KV/0.4KV","干式","套",1,"2003年",{"$nulls":3},"在用"]
[104,"十六","网络中心"]
[105,"（一）",null,null,"高压柜"]
[106,{"$nulls":3},"高压开关柜","北京维益埃电气有限公司","BFS-IR",null,null,"套",1,"2005年",null,null,"3*50/0.112KM","在用"]
[107,"（二）",null,null,"干式电力变压器","江苏中电变压器制造有限公司","SGB10-500/10","500KVA/10KV/0.4KV","干式","套",1,"2005年",{"$nulls":3},"在用"]
[108,"十七","体育馆"]
[109,"（一）",null,null,"干式电力变压器","江苏中电变压器制造有限公司","SGB10-500/10","500KVA/10KV/0.4KV","干式","套",1,"2005年",{"$nulls":3},"在用"]
[110,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,{"$nulls":3},"0.1KM","在用"]
[111,"十八","文科楼"]
[112,"（一）",null,null,"变压器","佛山市变压器厂","S7","630KVA/10KV/0.4KV","油浸式","套",1,"1984年",{"$nulls":3},"在用"]
[113,"（二）",null,null,"FN型户内负荷开关",{"$nulls":4},"套",1,null,null,"铝","3*25/0.18KM","在用"]
[114,"十九","龙泉园"]
[115,"（一）",null,null,"变压器","广东五华变压器厂","S7","200KVA/10KV/0.4KV","油浸式","套",1,"1983年",{"$nulls":3},"在用"]
[116,"（二）",null,null,"高压跌落式保险",{"$nulls":4},"套",1,{"$nulls":4},"在用"]
[117,"二十","成教学院"]
[118,"（一）",null,null,"变压器","汕头地区电力修造厂","无","180KVA/10KV/0.4KV","油浸式","套",1,"1983年",{"$nulls":3},"在用"]
[119,"（二）",null,null,"高压跌落式保险",{"$nulls":4},"套",1,{"$nulls":4},"在用"]
[]
[null,"二十一","新行政办公楼"]
[null,"（一）",null,null,"高压柜"]
[{"$nulls":4},"进线开关柜","施耐德","SM6-1MB",null,null,"套",1,"2012-04-01","2012年","YJV22-3*70    SC150FC","200M","在用"]
[{"$nulls":4},"PT柜(计量柜)","施耐德","SM6-GBC-B",null,null,"套",1,"2012-04-01","2012年",null,null,"在用"]
[{"$nulls":4},"馈线开关柜(断路器柜)","施耐德","SM6-DM1",null,null,"套",1,"2012-04-01","2012年","YJV22-3*150",null,"在用"]
[null,"(二)",null,null,"变压器","施耐德(苏州)","SCB10-1250/10","1250KVA/10KV/0.4KV","树脂浇注干式","套",1,"2012-04-01","2012年",null,null,"在用"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}