{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":28,"n_cols":8,"rows_kept":28,"merged":[[0,0,0,7],[1,0,1,7],[2,1,2,6],[15,0,15,7],[16,0,16,7],[18,0,23,7],[24,0,24,7],[25,0,25,7],[26,0,26,7],[27,0,27,7]],"flags":["formulas_cached_only"]}
["汕头大学新图书馆灯具配件材料采购报价书"]
["（招标编号：2013-013）"]
[null,"投标单位："]
["序号","材料名称","品牌/型号/规格","单位","数量","单价(元)","金额(元)","备注"]
[1,"日光灯管","佛山照明 T5-80w/6400K","支",300,null,null,"AC220v50Hz"]
[2,"日光灯管","佛山照明 T5-54w/6400K","支",600,null,null,"AC220v50Hz"]
[3,"日光灯管","佛山照明 T5-35w/6400K","支",500,null,null,"AC220v50Hz"]
[4,"日光灯管","佛山照明 T5-21w/6400K","支",200,null,null,"AC220v50Hz"]
[5,"日光灯管","佛山照明T5-14W/6400K","支",200,null,null,"AC220v50Hz"]
[6,"日光灯管","三雄极光T5--35W/4000K","支",200,null,null,"AC220v50Hz"]
[7,"日光灯管架","三雄极光T5---14W  直管 ","支",50,null,null,"AC220v50Hz"]
[8,"日光灯管架","三雄极光T5---21W   直管","支",50,null,null,"AC220v50Hz"]
[9,"日光灯管架","三雄PAK301908/35W  T5直管","支",600,null,null,"AC220v50Hz"]
[10,"节能灯","佛山照明半螺节能灯18W白色   ","个",300,null,null,"AC220v50Hz"]
[11,"节能灯","佛山照明二针双U节能灯13W暖色    ","个",200,null,null,"AC220v50Hz"]
["合计总金额:"]
["注：投标所报之价格含运费及相关税费"]
[]
["售后承诺：（投标人提出对所售商品的质量及售后承诺）（可加页）"]
[]
[]
[]
[]
[]
["代表人："]
["联系电话："]
["联系地址："]
["投标单位（盖章）："]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}